To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

Allura Form. Reflecting contemporary and emerging trends, Allura Form extends the core Allura concept with new shapes, larger sizes, mix and match modularity along with new colours and patterns. The result is increased choice for everyone who wants to combine leading-edge design with Allura’s proven practicality. From a diamond-shaped tile that offers endless combination possibilities to multi-width, large authentic oak planks, every collection element within Allura Form will promote fresh, exciting opportunities, helping you create floor designs that are contemporary, unique, and practical.

The designs complement all types of spaces, providing a tough, resilient flooring surface suitable for the most demanding of situations.

Dimensions: Dependent on design
Thickness: 2.5 mm

Colours/ patterns: 13 standard designs/colourways.

Consult with Forbo technical literature for details.

110 TILING: VINYL.

Fabricated underlay: 
Forbo QuickFit Subfloor System. – Optional.

Tiles: Vinyl to BS EN ISO 10582

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Forbo Allura Form.

BS EN ISO 10874 class: 34 / 43

Size: see colour/pattern below

Thickness: 2.5 mm

Colour/ pattern:

Squares - 25cm x 25cm: s62452: 50 cm x 50 cm; w69077/w69064/62451:100 x 100cm: w62450

Planks - 150 x 28cm: w60300/w60301/w60302/w60303/w60304: 150 x 14cm: w60310/w60311

150 x 7cm: w60321/w60322

Triangle – 50 x 43.3cm: w69013/w69014

Diamond – 34.6 x 59.8cm: w69253/w69255/w69256/w69257

Method of laying: [select from]

Square - Inspiration 1; Inspiration 2; Inspiration 3; Inspiration 4;

Triangle - Inspiration 1; Inspiration 2; Inspiration 3; Inspiration 4;

Diamond - Inspiration 1; Inspiration 2; Inspiration 3; Inspiration 4;

Stone Dimensions - Inspiration 1; Inspiration 2; Inspiration 3; Inspiration 4;

Oak XL - Inspiration 1; Inspiration 2; Inspiration 3; Inspiration 4;

Custom design – see drawing

Adhesive (and primer if recommended by manufacturer):
Eurocol 540 Eurosafe Special - A superior acrylic dispersion solvent-free floor covering adhesive with a high initial grab for the installation of PVC tiles.

Eurocol 640 Eurostar Special – A superior acrylic dispersion very low VOC emission adhesive with a high initial grab – to be specified where low emission adhesives are required for BREEAM section HEA9 credits are required 
Eurocol 140 Euromix PU - A polyurethane PU - A polyurethane resin and hardener, water-resistant 2-component PU-adhesive – to be specified in areas subject to abnormal temperature variations such as glazed window fronts.

Accessories:
Edging and cover strips, as clause 740.
Stair nosing, as clause 750.
Skirtings, as clause 770.

Finishing: As clause 820 omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.