[image: image1]
[image: image3.png][Rodbo

FLOORING SYSTEMS





To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILE: 
Westbond Colour wool deluxe & Westbond Flex wool deluxe A fusion bonded cut pile carpet tile. Manufactured from 80% British wool, 10% hank dyed polyamide, 10% polyester on a PVC backing (incorporating up to 74% pre-consumer recycled content). 
Tile size: 50 x 50cm 

Pile weight: 2400g/sm ± 10%

Thickness: 14.0mm ± 10%

Westbond Colour wool deluxe plain is available in 144 standard colourways. Any colour available, no minimum order.

Westbond carpet tiles must be laid in accordance with best practice techniques as detailed in the Contract Flooring Association’s guidelines and BS5325.  Consult with Forbo technical literature for further details.

130 CARPET TILE:
Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB. 

Tel: 0800 0282 162 Fax: 01772 646912; Tel 01592 643777 Fax: 01592 643999 

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk 

Product reference: Westbond Colour wool deluxe & Westbond Flex wool deluxe 
Type: Fusion bonded cut pile 
BS EN 1307 classification: Class 33
Level of use class: Heavy Contract
Size: 50 x 50cm
Colour/ pattern: As per finishes schedule
Method of Laying: Westbond Colour wool deluxe can be installed Broadloom, Quarter Turn or Tessellated (delete as appropriate) 

Westbond Flex wool deluxe should be installed Broadloom

Adhesive:  542 Eurofix Tack Plus.

Accessories: Edging and cover strips, as clause 740.

PAGE  
1
[image: image2.png]creating better environments



Issue Date: September 2009

[image: image3.png]