[image: image1][image: image2.png]creating better environments




[image: image3.png][Rodbo

FLOORING SYSTEMS





To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILE: 
Westbond Natural wool deluxe A fusion bonded cut pile carpet tile. Manufactured from 80% Undyed British wool, 10% hank dyed polyamide, 10% polyester on a PVC backing (incorporating up to 74% pre-consumer recycled content). 
Tile size: 50 x 50cm 

Pile weight: 2400g/sm ± 10%

Thickness: 14.0mm ± 10%

Natural wool deluxe is available in 13 standard colourways.

Westbond carpet tiles must be laid in accordance with best practice techniques as detailed in the Contract Flooring Association’s guidelines and BS5325.  Consult with Forbo technical literature for further details.

130 CARPET TILE:
Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB. 

Tel: 0800 0282 162 Fax: 01772 646912 

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk 

Product reference: Natural wool deluxe
Type: Fusion bonded cut pile 
BS EN 1307 classification: Class 33
Level of use class: Heavy Contract
Size: 50 x 50cm
Colour/ pattern: As per finishes schedule
Method of Laying: Natural wool deluxe can be installed Broadloom, Quarter Turn or Tessellated (delete as appropriate) 
Adhesive:  542 Eurofix Tack Plus.

Accessories: Edging and cover strips, as clause 740.

PAGE  
1
[image: image3.png]Issue Date: September 2009

