To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

ColoRex® Plus R10.

A heavy duty adhesive free interlocking PVC tile floor system with a textured surface for enhanced slip resistance (R10). The surface structure improves safety when there is a risk of contamination of the floor for example through powder or water spillage. Colorex Plus R10 is suitable for use in production sites where no ESD functionality is required (manufacturing, life sciences). Colorex Plus ideal for every area where downtime or costly sub floor preparation is an issue. Colorex Plus can be installed without disrupting activities and can be used straight after installation.

Dimensions: 607 x 607 mm.                                                                                                          Thickness: 10.3mm                                                                                                                                   Colours/ patterns: - single grey colourway.
Consult with Forbo technical literature for details.

110 TILING: VINYL

Fabricated underlay: N/A

Tiles: Loose lay vinyl
Manufacturer:  Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk 
Product reference: Forbo ColoRex® Plus R10.
BS EN 685 class: 34 / 43
Size: 607 x 607 mm.
Thickness: 10.3 mm.
Colour/ pattern: As per finishes schedule
Adhesive (and primer if recommended by manufacturer): N/A

Seam Welding: Optional with matching weld cable [delete if not required]

Accessories:
Edging and cover strips, as clause 740.
Skirtings, as clause 770.

Finishing: As clause 820 omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.