To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

170 Carpet: . . . . . .

An electrostatically Flocked carpet manufactured to EN 1307:2005 from 100% nylon 6.6 pile with a Resilient Waterproof backing.

HemingwayDesign x Forbo is a collection of four digitally printed designs - Hopscotch, Hemingbone, Mix & Match and Fresh Cut Graph

Roll width: 2m

Thickness: 4.3mm

Consult with Forbo technical literature for details.

170 Carpet:

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: HemingwayDesign x Forbo

BS EN 685 classification: Class 33

Level of use class: Heavy Contract

Colour/ pattern: Hopscotch, Hemingbone, Mix & Match and Fresh Cut Graph

Adhesive (and primer if recommended by manufacturer):
Eurocol 540 Eurosafe Special – A superior acrylic dispersion solvent-free floor covering adhesive with a high initial grab.
Eurocol 640 Eurostar Special – A superior acrylic dispersion low VOC emission adhesive with a high initial grab.

Accessories:
Edging and cover strips, as clause 740.
Skirtings, as clause 770.

Other requirements: Flotex has the Allergy UK Seal of approval.
Seek advice from Forbo for specific requirements for flooring.