To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

130 CARPET TILE:

Tessera Contour   A tufted, multi height cut and loop pile carpet tile. Manufactured from 100% solution dyed Refresh™ by Universal Fibers™ 100%Polyamide 6.6, on a polyester primary backing and ProBac secondary backing which contains 76% recycled content. Also available in SOFTbac®. Softbac® is an additional backing layer which also acts as an underlay and offers increased sound and thermal insulation and extends the guarantee period by 50% to 15 years.

Tile size: 50 x 50cm, other sizes are available for special orders.

Pile weight (after shearing): 580g/sm ± 10%

Thickness: 6.3mm ± 10%; With SOFTbac® + 3mm ± 10%.

Contour is available in 13 colourways.

Tessera carpet tiles must be laid in accordance with best practice techniques as detailed in the Contract Flooring Association’s guidelines and BS5325.  Consult with Forbo technical literature for further details.

130 CARPET TILE:

Manufacturer: Forbo Flooring UK Ltd, High Holborn Road, Ripley, DE5 3NT

Tel: 0800 0282 162 Fax: 01772 646912;

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Contour

Type: Textured cut and loop pile

BS EN 1307 classification: Class 33

Level of use class: Heavy Contract

Size: 50 x 50cm

Colour/ pattern: 1900 painted bark, 1901 volcanic brick,1902 Neutral buff, 1903 white spruce, 1904 lava core, 1905 smoky quartz, 1906 rising ash, 1907 deep loch, 1908 classic cloud, 1910 morning dew, 1911 Himalayan salt, 1912 pastures new, 1913 fresh leaves

Method of Laying: Contour can be installed Monolithic; Quarter Turn; Tessellated; half drop or non-directional (delete as appropriate).

Adhesive: 542 Eurofix Tack Plus.

Accessories: Edging and cover strips, as clause 740.