To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

130 CARPET TILE:

Tessera Layout and Outline:   A tufted, low loop pile carpet tile. Manufactured with 100% solution dyed nylon 6 on a polyester/nylon primary backing and a modified bitumen/polyester secondary backing. Also available in SOFTbac®. Softbac® is an additional backing layer which also acts as an underlay and offers increased sound and thermal insulation and extends the guarantee period by 50% to 15 years.

The dynamic colour palette of Layout is hugely versatile featuring a comprehensive choice of modern neutrals in combination with diverse and directional brighter shades. Colours can be used independently or in combination to achieve a myriad of interior styles for any application.

Outline is a subtly textured striped pattern, each colourway perfectly matched to two Layout colours. Combinations of Outline and Layout allow complete freedom of expression creating connections, highlights and transitions enhancing any style of scheme.

Tile size: 50 x 50cm, other sizes are available for special orders.

Pile weight: 580g/sm ± 10%

Thickness: 5.8mm ± 10%; With SOFTbac® + 3mm ± 10%.

Colours/patterns: Layout – 32 colourways. Outline – 8 colourways.

Layout and Outline contains over 50% recycled content by weight.

Tessera carpet tiles must be laid in accordance with best practice techniques as detailed in the Contract Flooring Association’s guidelines and BS5325.  Consult with Forbo technical literature for further details.

130 CARPET TILE:

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912;

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Layout and Outline

Type: Low loop pile

BS EN 1307 classification: Class 33

Level of use class: Heavy Contract

Size: 50 x 50cm

Colour/ pattern: As per finishes schedule

Method of Laying:

Layout – Monolithic, quarter turn or tessellated, brick or quarter brick [delete as appropriate].

Outline - quarter turn or tessellated, brick or quarter brick [delete as appropriate].

Adhesive: 542 Eurofix Tack Plus.

Accessories: Edging and cover strips, as clause 740.