To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

130 CARPET TILE:

Tessera Mix   A textured loop pile carpet tile. Random Lay. Batchless. Manufactured from 100% solution dyed Antron polyamide, on a modified bitumen polyester primary and secondary backing. All colours of Mix are available with the Tessera Direct guarantee, for more information please visit www.forbo-flooring.co.uk/tesseradirect

Tile size: 50 x 50cm

Pile weight: 650g/sm ± 10%

Thickness: 5.9mm ± 10%; With SOFTbac® + 3mm ± 10%.

Mix is available in 15 colourways.

Tessera carpet tiles must be laid in accordance with best practice techniques as detailed in the Contract Flooring Association’s guidelines and BS5325. Consult with Forbo technical literature for further details.

130 CARPET TILE:

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Mix

Type: Textured loop pile. Random Lay. Batchless.

BS EN 1307 classification: Class 33

Level of use class: Heavy Contract

Size: 50 x 50cm

Colour/ pattern: As per finishes schedule

Method of Laying: Mix should be installed in a Random fashion

Adhesive: 542 Eurofix Tack Plus

Accessories: Edging and cover strips, as clause 740