To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

N10 GENERAL FIXTURES/ FURNISHINGS/ EQUIPMENT

300 ENTRANCE MATTING:

Coral Brush Pure: A cut pile clean-off carpet that can simultaneously absorb moisture and remove dry soiling. Coral Brush pure is made of three yarns: capillary yarns to absorb moisture; active dirtscraping yarns; and heavy duty textured yarns that can withstand the heaviest traffic.

Yarn: Constructed from 100% Econyl® regenerated solution dyed polyamide yarn

Backing: Everfort® Vinyl backing as standard. Fire Retardant (FR) latex backing available as an option

Roll length (m): approx. 27.5

Overall thickness: 9mm.

Pile height: 7mm / FR: 6.5mm

Colour/pattern: 57xx, 11 colours in total

300 ENTRANCE MATTING:

Manufacturer:

Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: 	Coral Brush Pure

Coral Brush Pure FR

Size: Select from the following:

Roll width (cm): 105/155/205 (185cm for Fire Retardant option)

Loose lay Mat (cm): 55x90, 90x155, 135x205, 205x300 (mat sizes with 2.5cm edge on all sides)

Colour/ pattern: Select from the following:

5730 vulcan black / 5710 asphalt grey / 5714 shark grey / 5715 charcoal grey 5729 sangria red /

5719 bossanova purple / 5724 chocolate brown / 5720 gondola black / 5727 stratos blue / 5721 grey /

5723 cardinal red

Adhesive (and primer if recommended by manufacturer): Eurocol 540 Eurosafe Special – (solvent-free acrylic dispersion) Eurocol 640 Eurostar Special – (low VOC emission acrylic dispersion) - Specify where BREEAM HEA9 credits are required.