To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

170 Carpet: . . . . . .

An electrostatically Flocked carpet manufactured to EN 1307:2005 from 100% nylon 6.6 pile with a Resilient Waterproof backing.

Flotex Vision Linear is part of the Flotex Vision collection which consists of 6 digitally printed design categories each of which will hold a number of patterns which come in a great variety of different colours.

Patterns/colourways: Chevron (6 colourways); Cord (25 colourways); Etch (12 colourways); Pulse (20 Colourways); Spectrum (8 colourways); Trace (22 colourways); Transit (8 Colourways); Vector (24 Colourways).

Roll width: 2m

Thickness: 4.3mm

Consult with Forbo technical literature for details.

170 Carpet:

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Flotex Vision Linear: Select from the following patterns:

Chevron/Cord/Etch/Pulse/Spectrum/Trace/Transit/Vector

BS EN 685 classification: Class 33

Level of use class: Heavy Contract

Colour/ pattern: As per finishes schedule

Adhesive (and primer if recommended by manufacturer):
Eurocol 540 Eurosafe Special – A superior acrylic dispersion solvent-free floor covering adhesive with a high initial grab.
Eurocol 640 Eurostar Special – A superior acrylic dispersion low VOC emission adhesive with a high initial grab.

Accessories:
Edging and cover strips, as clause 740.
Stair nosing, as clause 750.
Skirtings, as clause 770.

Other requirements: Flotex Vision collection has the Allergy UK Seal of approval.
Seek advice from Forbo for specific requirements for flooring.