To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

Marmoleum® Modular. The Marmoleum collection is built up from matching small and large rectangles and squares that inspire to create wonderful combinations to create the perfect floor to complement the interior.

The Marmoleum Modular collection consists of three themes. Play with shade presents a wonderful range of neutral colours in subtle shades from light to darker, Play with colour presents an outspoken choice of deep, fresh and bright colour accents and Play with marble presents a range inspired by nature for a sophisticated natural look. The full palette is perfectly balanced and inspires to design unique and beautiful floors.

Standard floor layouts are available, or tiles can be mixed to produce your own custom design.

Dimensions: 25 x 25cm; 50 x 50 cm. 50 x 25cm; 50 x75cm.

Thickness: 2.5 mm.

Colours/ patterns: 46 standard colourways.
Consult with Forbo technical literature for details.

110 TILING: LINOLEUM

Fabricated underlay: 
Forbo Corkment Underlay. – Optional.
Forbo QuickFit Subfloor System. – Optional.

Tiles: Linoleum to BS EN ISO 24011.

Manufacturer: Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Forbo Marmoleum® dual.

BS EN IS) 10874 class: 23 / 34 / 42

Size: 25 x 25cm; 50 x 25 cm. 50 x 50cm; 50 x75cm. [Select as required/available]
Thickness: 2.5 mm.

Colour/ pattern:

25 x 25cm – 3722/3707/3563/3887/3884/3566/3243/3245/3882/3251/3203/3244/3238/3224/3127/3030/3242/3255

50 x 25cm – 3722/3707/3716/3717/3718/3704/3711/3719/3720/3721/3407/3405/3425/3423/2713/3252/3246/3254/2707/3126/3146/3048/3232/3216/3053/3139/

50 x 50cm - 3722/3707/3716/3717/3718/3704/3711/3719/3720/3721/3712/3713/3714/3715/3563/3887/3884/3566/3243/3245/3882/3251/3203/3244/3238/3224/3127/3030/3242/3255/3407/3405/3425/3423/2713/3252/3246/3254/  2707/3126/3146/3048/3232/3216/3053/3139

50 x75cm - 3716/3717/3718/3704/3711/3719/3720/37213712/3713/3714/3715

Standard design layout ref: [optional]

Adhesive (and primer if recommended by manufacturer):
Eurocol 414 Euroflex Lino Plus – A synthetic resin dispersion adhesive with a high initial grab.
Eurocol 614 Eurostar Lino Plus – A superior acrylic dispersion very low VOC emission adhesive with a high initial grab.

Accessories:
Edging and cover strips, as clause 740.                                                                                                          Stair nosings as clause 750.
Skirtings, as clause 770.

Finishing: As clause 820 Omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.