To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

Allura Stone. A range of stone, mineral and vintage effects create calming tones. The subtle designs complement all types of spaces, providing a tough, resilient flooring surface suitable for the most demanding of situations.

Dimensions: 100 x 100cm, 75 x 75cm, 75 x 50 cm, 75 x 25cm, 50 x 50cm*.
Thickness: 2.5 mm (0.7mm wear layer/0.55mm wear layer options).

Colours/ patterns: 30 standard designs/colourways.
Edge Profile: Beveled or Square*

* Dependent on colourway/design

Consult with Forbo technical literature for details.

110 TILING: VINYL.

Fabricated underlay: 
Forbo QuickFit Subfloor System. – Optional.

Tiles: Vinyl to BS EN ISO 10582

Manufacturer: Forbo Flooring UK Ltd, High Holborn Road, Ripley, DE5 3NT.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk

Product reference: Forbo Allura Stone.

BS EN ISO 10874 class: 34 / 43 (0.70mm) 33/42 (0.55mm) [delete as appropriate]

Size: 100 x 100cm, 75 x 75cm, 75 x 50 cm; 75x25cm, 50 x 50cm [delete as appropriate].
                                       
Wearlayer Thickness: 0.70mm/0.55mm [delete as appropriate].

Colour/ pattern: key: b – beveled.

50 cm x 50 cm; s62418/s62523/s62522/s62419/s62408/s62404/s62534(b)/s62536(b)/s62538(b)/s62488(b)/s62485(b)/s62557/s62554/s62542(b)/s62544(b)/s62546(b)/s62548(b)

75 x 25cm; s62580/s62582

75cm x50cm: s62569/s62567/s63774(b)/s63776 (b)

75 x 75cm; s62584

100 x 100cm; s62518/s62513/s62512/s62519/s62337/s62339

Adhesive (and primer if recommended by manufacturer):
Eurocol 540 Eurosafe Special - A superior acrylic dispersion solvent-free floor covering adhesive with a high initial grab for the installation of PVC tiles.

Eurocol 640 Eurostar Special – A superior acrylic dispersion very low VOC emission adhesive with a high initial grab  – to be specified where low emission adhesives are required for BREEAM section HEA9 credits are required 
Eurocol 140 Euromix PU - A polyurethane PU - A polyurethane resin and hardener, water-resistant 2-component PU-adhesive – to be specified in areas subject to abnormal temperature variations such as glazed window fronts.

Eurocol ‘646 Eurostar Premium - a very low emitting, moisture resistant adhesive. Wetset application method.

Accessories:
Edging and cover strips, as clause 740.
Stair nosing, as clause 750.
Skirtings, as clause 770.

Finishing: As clause 820 omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.