To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

Allura wood. A range of timber strip-effect tiles providing a tough, resilient flooring surface, suitable for the most demanding situation. Natural looking floors with few pattern repeats in the plank designs, ensures true - to - life floors that range from subtle tonal colours to expressive and modern woods.

The collection of over 49 wood designs in various planks sizes designed to represent the true nature of each specific wood type., including 24 oaks, 3 ash, 13 timbers, 2 seagrass, 3 pines and 4 digitally printed gymfloor or graphic wood designs.

Plank size: 50 x15cm; 90 x 15cm; 100 x 15cm; 120 x 20cm; 150 x 15cm; 150 x 28cm; 180 x 32cm*

Thickness: 2.5 mm (0.7mm wear layer); 2.2mm (0.55mm wear layer); 2.0mm (0.4mm wear layer) *

Colours/ patterns: 49 standard wood species/colourways.

Profile: Beveled or Square*

* Dependent on design/colourway.  See below or consult Sample Book/website for details.

Consult with Forbo technical literature for details.

110 TILING: VINYL.

Tiles: Vinyl to BS EN IS0 10582

Manufacturer: Forbo Flooring, PO Box 1, Kirkcaldy, Fife KY1 2SB Tel: 01592 643777 Fax: 01592 643999 E-mail: info.flooring.uk@forbo.com Web: www.forbo-flooring.co.uk

Product reference: Forbo Allura wood

BS EN ISO10874 class: 34 / 43 (2.5mm); 33/42 (2.2mm); 32/41(2.0mm) [delete as appropriate]

Recycled Content: - Post industrial recycled content – 10%

Size: 50 x15cm; 90 x 15cm; 100 x 15 cm; 120 x20cm; 150 x 15cm; 150 x 28cm; 180 x 32cm [ delete as appropriate].

Thickness: 2.5 mm/2.2mm/2.0mm [delete as appropriate].

Colour/ pattern: Select from the following:

50 x 15cm x 0.25cm:

63407DR7/63409DR7 / 63411DR7 / 63413DR7

90 x 15 x 0.25cm (Hungarian Point):

60055DR7 / 60351DR7 / 60354DR7 / 60357DR7/ 60389DR7 / 63497DR7

100 x 15 x 0.25cm:

60026DR7 / 60063DR7 / 60350DR7 / 60353DR7 / 60356DR7 / 61255DR7 / 61253DR7 / 60387DR7 / 63496DR7 / 63510DR7 / 63511DR7

120 x 20 x 0.25cm:

60064DR7 / 60065DR7 / 60074DR7 / 60078DR7 / 60082DR7 / 60084DR7 / 60085DR7 / 60150DR7 / 60151DR7 / 60152DR7/ 60293DR7/ 60295DR7/ 60374DR7/ 60375DR7 / 60376DR7 / 63406DR7/ 63408DR7 / 63410DR7 / 63412DR7 / 63516DR7 / 63517DR7 / 63418DR7/ 63420DR7 / 63422DR7

150 X 15 x 0.25cm:

63400DR7 / 63402DR7 / 63404DR7 / 63414DR7 / 63416DR7

150 X 28 x 0.25cm:

60185DR7 / 60187DR7 / 60300DR7 / 60301DR7 / 60302DR7 / 60305DR7 / 60306DR7

180 x 32 x 0.25cm:

60280DR7 / 60284DR7 / 60286DR7

50 x 15cm x 0.22cm:

63407DR5/ 63409DR5 / 63411DR5 / 63413DR5

90 x 15 x 0.22cm (Hungarian Point):

60055DR5 / 60351DR5 / 60354DR5 / 60357DR5/ 60389DR5 / 63497DR5

100 x 15 x 0.22cm:

60026DR5 / 60063DR5 / 60350DR5 / 60353DR5 / 60356DR5 / 61255DR5 / 61253DR5 / 60387DR5 / 63496DR5 / 63510DR5 / 63511DR5

120 x 20 x 0.22cm:

60046DR5 / 60065DR5 / 60074DR5 / 60078DR5 / 60082DR5 / 60084DR5 / 60085DR5 / 60150DR5 / 60151DR5 / 60152DR5 / 60293DR5 / 60295DR5 / 60374DR5 / 60375DR5 / 60376DR5 / 63406DR5 / 63408DR5 / 63410DR5 / 63412DR5 / 63516DR5 / 63517DR5 / 63418DR5/ 63420DR5 / 63422DR5

150 X 15 x 0.22cm:

63400DR5 / 63402DR5 / 63404DR5 / 63414DR5 / 63416DR5

150 X 28 x 0.22cm:

60185DR5 / 60187DR5 / 60300DR5 / 60301DR5 / 60302DR5 / 60305DR5 / 60306DR5

180 x 32 x 0.22cm:

60280DR5 / 60284DR5 / 60286DR5

Adhesive (and primer if recommended by manufacturer):
Forbo Eurocol 640 Eurostar Special - A superior acrylic dispersion very low VOC-emission (ECI) with a high initial grab.

Forbo Eurocol 543 Eurosafe Deco - A pressure sensitive acrylic dispersion with high temperature resistance - for areas subject to high surface temperature e.g. glazed shopfronts.

Forbo Eurocol 044 Europrimer Multi – A universal very low VOC-emission (ECI Plus) primer for improved adhesion on porous subfloors (consult manufacturers product literature for application recommendations).

Accessories:
Edging and cover strips, as clause 740.
Stair nosing, as clause 750.
Skirtings, as clause 770.

Finishing: As clause 820 omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.