To complete the clause, select the appropriate wording from below. Highlighted text can be ‘dragged and dropped’ to save typing.

M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING

110 TILING: . . . . . .

ColoRex® Basic Plus. A high performance loose lay interlocking PVC tile floor covering suitable for use in very heavy commercial areas and in industrial areas where fork trucks are in operation. These tiles offer high resistance to wear and have excellent chemical resistance.                                                                                                                   Contact Forbo flooring for further details on availability of Colorex Basic Plus.

Dimensions: 608 x 608 mm.                                                                                                          Thickness: 10.5mm                                                                                                                                   Colours/ patterns: - 5 standard colourways.
Consult with Forbo technical literature for details.

110 TILING: VINYL

Fabricated underlay: N/A

Tiles: Loose lay vinyl
Manufacturer:  Forbo Flooring UK Ltd, P O Box 1, Kirkcaldy Fife, KY1 2SB.

Tel: 0800 0282 162 Fax: 01772 646912

Email: info.flooring.uk@forbo.com. Web: www.forbo-flooring.co.uk 
Product reference: Forbo ColoRex® Basic Plus.
BS EN 685 class: 34 / 43
Size: 608 x 608 mm.
Thickness: 10.5 mm.
Colour/ pattern: As per finishes schedule
Adhesive (and primer if recommended by manufacturer): N/A

Seam Welding: Optional with matching weld cable [delete if not required]

Accessories:
Edging and cover strips, as clause 740.
Skirtings, as clause 770.

Finishing: As clause 820 omitting polish finish.

Other requirements: Seek advice from Forbo for specific requirements for flooring.